{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Foglio1","Foglio2","Foglio3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Foglio1","index":0,"n_rows":25,"n_cols":9,"rows_kept":25,"cut":false,"hidden":false,"merged":[[12,8,13,10],[11,8,11,10],[19,8,19,10],[20,8,20,10],[21,8,21,10],[14,8,14,10],[15,8,15,10],[12,1,12,3],[10,0,10,10],[24,0,24,10],[22,8,22,10],[23,8,23,10],[4,0,4,10],[5,0,5,10],[16,8,16,10],[17,8,17,10],[18,8,18,10]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":5},"TABELLA  2"]
[]
[]
["Installazione di corpi illuminanti (plafoniere) "]
["PUNTO  6.1.1 -  OFFERTA TECNICA  - Lettera B)    - MIGLIORIE"]
["Realizzazione Impianto illuminazione e corpi illuminanti     - Fino a Punti  20"]
[]
[]
[]
["TABELLA 2  (Cfr Tav S16)"]
[]
["LOCALE","n° PUNTI DI ALIMENTAZIONE",null,null,"PLAFONIERA","PLAFONIERA","PUNTO LUCE ",null,"OFFERTA"]
[null,"Interrotto","Deviato","Aggiunto","Tipo Disano Coverts","Tipo Disano Orma","A comando"]
["LOCALE \"A\"",4,null,1,3,2,5]
["LOCALE \"B\"",2,4,3,6,null,6]
["LOCALE \"C\"",3,null,3,6,null,6]
["LOCALE \"D\"",4,null,2,4,2,6]
["LOCALE \"E\"",null,null,1,1,null,1]
["LOCALE \"F\"",2,null,3,5,null,5]
["LOCALE \"G\"",2,null,4,6,null,6]
["LOCALE \"H\"",1,null,null,1,null,1]
["LOCALE \"I\"",3,null,3,6,null,6]
["LOCALE \"L\"",null,null,2,2,null,2]
["N.B.   Il concorrente dovra' barrare il riquadro relativo all'elemento offerto"]

{"sheet":"Foglio2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Foglio3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}